## Introduction
High Performance Report Version 2.0 Building Energy Performance Program
1) All buildings pursuing a high performance pathways for the City's Building Energy Performance Policy must submit documentation to the Office of Sustainability (OOS). This High Performance Workbook can be completed and submitted to meet this requirement. 2) Complete all the fields on all the tabs. There are times when extra space/fields are provided, so please read the directions. Also, there are fields marked as "Optional" that are not required to be fully compliant. If a field is not applicable to a building, please use "N/A" or do not choose from the dropdown menu. 3) Once this template is completed, please submit it and all necessary attachments to prove high-performance to TuneUps@phila.gov with the OPA number in the subject line. If you do not know the building’s OPA number, please visit www.atlas.phila.gov.
Resources
1) Program Webpage
2) BEPP Regulations
3) BEPP Legislation
4) Tune-up Specialist Application
Please contact TuneUps@phila.gov with any question.

## High-Performance Path
High Performance Report: City of Philadelphia's Building Energy Performance Program
High-performance Pathway Details
Pathway Selection & Submission Requirements
Select the high-performance pathway the building has completed:
Required materials for submission
*Fills automatically based on dropdown menu above*

## Contact Information
High Performance Report: City of Philadelphia's Building Energy Performance Program
Contact Information
Building Owner
|  | First Name | Last Name
|  | Company/Organization/LLC | Title
Mailing Address
|  | City | State | Zip
|  | Email Address | Phone Number
Primary Building Contact (can be "Same as Above")
Same contact as above?
|  | First Name | Last Name
|  | Company | Title
Mailing Address
|  | City | State | Zip
|  | Email Address | Phone Number
Additional Contact Information Notes (Optional)

## Building Overview
High Performance Report: City of Philadelphia's Building Energy Performance Program
Building Overview
Building Information
Name
Address
|  | OPA # (To search: www.atlas.phila.gov) | Portfolio Manager ID #
|  | Primary Property Type | Define, if "Other"
|  | Shared Energy Meter (Building Name(s)) | Shared Energy Meter (Portfolio Manager ID(s))
Building Characteristics
General Information
|  | Year Built | Indoor Floor Space (Sq. Ft.), excluding residential & parking
|  | Indoor Floor Space (Gross Sq. Ft.), including residential | Parking Area (Sq. Ft.)
|  | # of Floors | # of Basements/Sub-basements
|  | Occupancy (% of total) | # of EV Charging Outlets
Fuel Sources Used
Electric
Gas
Steam
Fuel Oil
|  | On-site solar PV | Total kW installed:
Other (please define):
Space Use (Up to five largest energy users)
|  | Space Use | Floor Area (Sq. Ft.)
Occupancy Use
|  | Heating Setpoint | General Schedule
|  | Heating Setback | Use (hours/week)
|  | Cooling Setpoint | Use (weeks/year)
Cooling Setback
Notes
Building Automation System (BAS)
|  | Is there a BAS? | Type
|  | Brand/Manufacturer | Version
Comments about BAS (e.g. original building all pneumatic, X% converted to DDC)
Tenant Information
|  | Do tenants pay for their own energy use? | How is water metered in the building?
Does building management engage with tenants on energy efficiency opportunities?
If yes, provide a brief description of this program
Additional Building Notes (Optional)
Note on C19: If this building shares an energy or water meter with another building(s), please list the name(s) here.
Note on E19: If this building shares an energy or water meter with another building(s), please list the Portfolio Manager ID(s) here.

## Other Major Systems & Equipment (hidden)
Tune-up Report: Building Energy Performance Policy
Other Major Systems & Equipment
Major Equipment - Centralized |  |  |  |  | Major Equipment - Decentralized (use sampling approach of at least 15%)
Equipment | Age | System Size Threshold | Unit of Measurement | Brief Description/Comment | Equipment | Age | System Size Threshold | Unit of Measurement | Brief Description/Comment
Other Major Systems
Equipment | Age | System Size Threshold | Unit of Measurement | Brief Description/Comment

## Major Systems
High Performance Report: City of Philadelphia's Building Energy Performance Program
Major Systems
Please include information for your Major Systems used throughout the building.
|  | Major Systems |  | Major Systems |  | Major Systems | Major Systems | Major Systems
Space Use Served
Occupancy Schedule
| Primary Heating System | Type |  | Type |  | Type | Type | Type
|  | Size |  | Size |  | Size | Size | Size
|  | Size (Unit of Measurement) |  | Size (Unit) |  | Size (Unit) | Size (Unit) | Size (Unit)
|  | # of Pieces of Equipment |  | # of Pieces of Equipment |  | # of Pieces of Equipment | # of Pieces of Equipment | # of Pieces of Equipment
|  | Age |  | Age |  | Age | Age | Age
|  | Efficiency Rating |  | Efficiency Rating |  | Efficiency Rating | Efficiency Rating | Efficiency Rating
|  | Efficiency Rating (Units) |  | Efficiency Rating (Units) |  | Efficiency Rating (Units) | Efficiency Rating (Units) | Efficiency Rating (Units)
|  | Condition |  | Condition |  | Condition | Condition | Condition
|  | Notes |  | Notes |  | Notes | Notes | Notes
| Primary Cooling System | Type |  | Type |  | Type | Type | Type
|  | Size |  | Size |  | Size | Size | Size
|  | Size (Unit of Measurement) |  | Size (Unit) |  | Size (Unit) | Size (Unit) | Size (Unit)
|  | # of Pieces of Equipment |  | # of Pieces of Equipment |  | # of Pieces of Equipment | # of Pieces of Equipment | # of Pieces of Equipment
|  | Age |  | Age |  | Age | Age | Age
|  | Refrigerant Type |  | Refrigerant Type |  | Refrigerant Type | Refrigerant Type | Refrigerant Type
|  | Efficiency Rating |  | Efficiency Rating |  | Efficiency Rating | Efficiency Rating | Efficiency Rating
|  | Efficiency Rating (Units) |  | Efficiency Rating (Units) |  | Efficiency Rating (Units) | Efficiency Rating (Units) | Efficiency Rating (Units)
|  | Condition |  | Condition |  | Condition | Condition | Condition
|  | Notes |  | Notes |  | Notes | Notes | Notes
| Primary Ventilation System | Type |  | Type |  | Type | Type | Type
|  | Size |  | Size |  | Size | Size | Size
|  | Size (Unit of Measurement) |  | Size (Unit) |  | Size (Unit) | Size (Unit) | Size (Unit)
|  | # of Pieces of Equipment |  | # of Pieces of Equipment |  | # of Pieces of Equipment | # of Pieces of Equipment | # of Pieces of Equipment
|  | Age |  | Age |  | Age | Age | Age
|  | Condition |  | Condition |  | Condition | Condition | Condition
|  | Notes |  | Notes |  | Notes | Notes | Notes
| Primary Distribution System | Type |  | Type |  | Type | Type | Type
|  | Size |  | Size |  | Size | Size | Size
|  | Size (Unit of Measurement) |  | Size (Unit) |  | Size (Unit) | Size (Unit) | Size (Unit)
|  | # of Pieces of Equipment |  | # of Pieces of Equipment |  | # of Pieces of Equipment | # of Pieces of Equipment | # of Pieces of Equipment
|  | Age |  | Age |  | Age | Age | Age
|  | Condition |  | Condition |  | Condition | Condition | Condition
|  | Notes |  | Notes |  | Notes | Notes | Notes
| Primary Domestic Hot Water System | Type |  | Type |  | Type | Type | Type
|  | Size |  | Size |  | Size | Size | Size
|  | Size (Unit of Measurement) |  | Size (Unit) |  | Size (Unit) | Size (Unit) | Size (Unit)
|  | # of Pieces of Equipment |  | # of Pieces of Equipment |  | # of Pieces of Equipment | # of Pieces of Equipment | # of Pieces of Equipment
|  | Age |  | Age |  | Age | Age | Age
|  | Condition |  | Condition |  | Condition | Condition | Condition
|  | Notes |  | Notes |  | Notes | Notes | Notes
Primary Lighting Technology
Other Pumping and/or Electrical Systems
Notes
Other Major Equipment or Systems (Not referenced above)
| Systems/Equipment |  | Age | System Size Threshold | Size (unit) | Brief Description/Comment
Additional Major Systems Notes (Optional)

## Data Review
High Performance Report: City of Philadelphia's Building Energy Performance Program
Data Reviews
Building Benchmarking
Review the property's most recent benchmarking submission in Portfolio Manager. Are the energy sources, square footage, property use details, and energy meter details listed correct?
If "Yes", please verify in Portfolio Manager by following the instructions at: https://energystar-mesa.force.com/PortfolioManager/s/article/How-do-I-save-my-Verification-information
If "No", please detail the errors below and make the necessary corrections.
Energy Bill Review
Review energy bills (monthly for past year, at least) for any abnormalities that could indicate poor or inappropriate functioning of systems and/or equipment. If found, include a summary of potential issues and further elaborate if specific tune-up items may be required to fix these issues.
|  | Start Date (of bills) | End Date (of bills)
Key Findings
Water Bill Review
Review water bills (monthly for past year, at least) for any abnormalities that could indicate poor or inappropriate functioning of systems and/or equipment. If found, include a summary of potential issues and further elaborate if specific tune-up items may be required to fix these issues.
|  | Start Date (of bills) | End Date (of bills)
Key Findings
Maintenance Review (Optional)
Review recent (e.g. last quarter) of tenant complaints regarding building systems and maintenance records. If complaints point to poor or inappropriate functioning of systems and/or equipment, include a summary of potential issues and further elaborate if specific tune-up items may be required to fix these issues.
|  | Start Date (of records) | End Date (of record)
Key Findings
Greenhouse (GHG) Gas Emissions (Optional)
If known by the building, or if the owner requests the calculation as part of the tune-up, provide the carbon emissions of the building
|  | Scope 1 Emissions (MTCO2e) | Scope 2 Emissions (MTCO2e)
Notes about GHG emissions

## Dropdowns (hidden) (hidden)
City Designated Property Type | States | Y/N | % | Space Uses | BAS | Deficiency | Water Meter | Records | Age | Condition | Heating Systems | Heating Systems (v2) | Cooling Systems | Cooling Systems (v2) | Primary Ventilation System | Primary Ventilation System (v2) | Primary Distribution System | Primary Distribution System (v2) | Primary Hot Water | Primary Hot Water | Primary Lighting Technology | Primary Lighting Technology (v2) | Other Major Systems | Major Equipment - centralized | Major Equipment - Decentralized (use sampling approach of at least 15%) | Tenant Energy | Rating Systems - Cooling | Rating Systems - Heating
Adult Education | AK | Yes | 0-10 | Adult Education | Direct Digital Control | Deficiency found; corrective action required | Master metered | Yes, tenant complaints | 0-5 | New | Boiler - Electric | Same as above | California Heat Pump Loop | Same as above | Natural Ventilation (>4% operable area/floor area) | Same as above | Air Handler Unit Multi Zone | Same as above | Gas water heating tank(s) | Same as above | Incandescent - Edison/Standard | Same as above | ***Major Systems*** | Boilers | Window Units | Yes, they pay for gas | SEER | AFUE
College/University | AL | No | 11-20 | Ambulatory Surgical Center | Pneumatic | Deficiency found; corrective action voluntary | Tenants metered separately | Yes, maintenance records | 6-10 | Good | Boiler - Gas | Boiler - Electric | Chiller Plant | California Heat Pump Loop | 100% Outside Air | Natural Ventilation (>4% operable area/floor area) | Air Handler Unit Single Zone | Air Handler Unit Multi Zone | Electric water heating tank(s) | Gas water heating tank(s) | Incandescent - Halogen | Incandescent - Edison/Standard | Hot Water Heating Plant | Air Handling Units | Unit Heaters | Yes, they pay for electric | EER | HSPF
Commercial | AR |  | 21-30 | Aquarium | Combination | No deficiency found |  | Yes, both | 11-15 | Fair | Boiler - Other | Boiler - Gas | Direct Expansion Split System | Chiller Plant | Dedicated Outdoor Air System | 100% Outside Air | Chilled Beams | Air Handler Unit Single Zone | Heat Pump water heating tank(s) | Electric water heating tank(s) | Fluorescent T5 | Incandescent - Halogen | Steam Heating Plant | Cooling Towers | Packaged RTUs (Single Zone, Multizone, VAV, etc) | Yes, they pay for gas and electric | HSPF | Et
Data Center | AZ |  | 31-40 | Athletic Fields | Other | N/A |  | No | 16-20 | Poor | California Heat Pump Loop | Boiler - Other | Direct Expansion Window AC Unit | Direct Expansion Split System | Demand Controlled Ventilation (CO2 or other) | Dedicated Outdoor Air System | Constant Volume AHU | Constant Volume AHU | Solar water heating tank(s) with gas backup | Heat Pump water heating tank(s) | Fluorescent T8 | Fluorescent T5 | District Steam | Fan Coil Units | Makeup Air Unit | No | COP | Other (specify in notes)
Distribution | CA |  | 41-50 | Automobile Dealership |  |  |  |  | 21-25 | End of life | Constant Volume AHU | California Heat Pump Loop | District Chilled Water Cooling Plant | Direct Expansion Window AC Unit | Exhaust Only with Passive Make-up Air | Demand Controlled Ventilation (CO2 or other) | Constant Volume AHU with zone heating coils | Constant Volume AHU with zone heating coils | Solar water heating tank(s) with electric backup | Solar water heating tank(s) with gas backup | Fluorescent T12 | Fluorescent T8 | District Cooling | Chillers (Air and Water Cooled) | Decentralized Heat pumps and Split systems (Airsource) |  | kW/ton
Hospital | CO |  | 51-60 | Bank Branch |  |  |  |  | 25+ | Not functioning | Constant Volume AHU with Zone Heating Coils | Constant Volume AHU | Ductless Heat Pump | District Chilled Water Cooling Plant | Fixed Outside Air Damper | Exhaust Only with Passive Make-up Air | Fan Coils - Hot Water | Fan Coils - Hot Water | Central Gas Boiler for Water Heating | Solar water heating tank(s) with electric backup | LED | Fluorescent T12 | Chilled Water Plant | Rooftop Units served in part from Central Plant (Single Zone, Multizone, VAV, etc) | PTAC or PTHP (Packaged Terminal Units) |  | Other (specify in notes)
Hotel | CT |  | 61-70 | Bar/Nightclub | [6 empty] | District Hot Water Plant | Constant Volume AHU with Zone Heating Coils | Evaporative Cooler | Ductless Heat Pump | Heat Recovery or Energy Recovery Ventilation | Fixed Outside Air Damper | Fan Coils - Refrigerant | Fan Coils - Refrigerant | Central Oil Boiler for Water Heating | Central Gas Boiler for Water Heating | Compact Fluorescent | LED | Humidification System | Centralized Heat pumps (Air and Water-source including Variable Refrigerant Flow)
Industrial | DC |  | 71-80 | Barracks | [6 empty] | District Steam Plant | District Hot Water Plant | Heat Pump Air Source Split System | Evaporative Cooler | Other | Heat Recovery or Energy Recovery Ventilation | Fan Coils - Steam | Fan Coils - Steam | Central Boiler for Combined Space and Water Heating | Central Oil Boiler for Water Heating | Metal Halide | Compact Fluorescent | Energy Recovery Loops | Heatexchanger (Heating or Cooling)
Laboratory | DE |  | 81-90 | Bowling Alley | [6 empty] | Ductless Heat Pump | District Steam Plant | Heat Pump Air Source Variable Refrigerant Flow | Heat Pump Air Source Split System |  | Other | Forced Air Fan | Forced Air Fan | On Demand Gas Water Heater | Central Boiler for Combined Space and Water Heating | High-Pressure Sodium | Metal Halide | Ventilation Systems
Manufacturing | FL |  | 91-100 | Casino | [6 empty] | Electric Resistance Baseboard, Cabinet Heater | Ductless Heat Pump | Heat Pump Ground Source | Heat Pump Air Source Variable Refrigerant Flow |  |  | Packaged VAV | Packaged VAV | On Demand Electric Water Heater | On Demand Gas Water Heater | Mercury Vapor | High-Pressure Sodium | Domestic Hot Water Heating
Medical Office | GA |  |  | College/University | [6 empty] | Furnace - Electric | Electric Resistance Baseboard, Cabinet Heater | Heat Pump Water Source | Heat Pump Ground Source |  |  | Powered Induction Terminal Unit | Powered Induction Terminal Unit | Waste Heat exchange system | On Demand Electric Water Heater | Other | Mercury Vapor | On-site Power Generation
Mixed Use | HI |  |  | Convenience Store with Gas Station | [6 empty] | Furnace - Gas | Furnace - Electric | Packaged Rooftop Unit | Heat Pump Water Source |  |  | Radiant Electric Baseboard or Surface | Radiant Electric Baseboard or Surface | Steam Heat exchange system | Waste Heat exchange system | Unknown | Other | Energy Storage Systems
Municipal | IA |  |  | Convenience Store without Gas Station | [6 empty] | Heat Exchanger | Furnace - Gas | Packaged Terminal AC | Packaged Rooftop Unit |  |  | Radiators - Hot Water | Radiators - Hot Water | Other | Steam Heat exchange system |  | Unknown | ***Major Equipment -Centralized***
Museum | ID |  |  | Convention Center | [6 empty] | Heat Pump Air Source Split System | Heat Pump Air Source Split System | Packaged Terminal HP | Packaged Terminal AC |  |  | Radiators - Steam | Radiators - Steam | No DHW System | Other |  |  | Boilers
Nightclub | IL |  |  | Courthouse | [6 empty] | Heat Pump Air Source Variable Refrigerant Flow | Heat Pump Air Source Variable Refrigerant Flow | Other - please describe in Notes column | Packaged Terminal HP |  |  | Reheat Terminal Unit Electric | Reheat Terminal Unit Electric |  | No DHW System |  |  | Air Handling Units
Office | IN |  |  | Data Center | [6 empty] | Heat Pump Ground Source | Heat Pump Ground Source | No Cooling | Other - please describe in Notes column |  |  | Reheat Terminal Unit Gas | Reheat Terminal Unit Gas |  |  |  |  | Cooling Towers
Other | KS |  |  | Distribution Center | [6 empty] | Heat Pump Water Source | Heat Pump Water Source |  | No Cooling |  |  | Other | Other |  |  |  |  | Fan Coil Units
Retail | KY |  |  | Drinking Water Treatment & Distribution | [6 empty] | Make-up Air Unit - Electric | Make-up Air Unit - Electric |  |  |  |  | No Distribution System | No Distribution System |  |  |  |  | Chillers (Air and Water Cooled)
School (K-12) | LA |  |  | Enclosed Mall | [6 empty] | Make-up Air Unit - Gas | Make-up Air Unit - Gas | [10 empty] | Rooftop Units served in part from Central Plant (Single Zone, Multizone, VAV, etc)
Supermarket | MA |  |  | Energy/Power Station | [6 empty] | Packaged Terminal HP | Packaged Terminal HP | [10 empty] | Centralized Heat pumps (Air and Water-source including Variable Refrigerant Flow)
Warehouse | MD |  |  | Fast Food Restaurant | [6 empty] | Packaged VAV - Electric Reheat | Packaged VAV - Electric Reheat | [10 empty] | Heatexchanger (Heating or Cooling)
Worship | ME |  |  | Financial Office | [6 empty] | Packaged VAV - Gas Reheat | Packaged VAV - Gas Reheat | [10 empty] | ***Major Equipment - Decentralized***
| MI |  |  | Fire Station | [6 empty] | Packaged VAV - Hot Water | Packaged VAV - Hot Water | [10 empty] | Window Units
| MN |  |  | Fitness Center/Health Club/Gym | [6 empty] | PRTU - Gas | PRTU - Gas | [10 empty] | Unit Heaters
| MO |  |  | Food Sales | [6 empty] | PRTU - Heat Pump | PRTU - Heat Pump | [10 empty] | Packaged RTUs (Single Zone, Multizone, VAV, etc)
| MS |  |  | Food Service | [6 empty] | Unit Heater - Electric | Unit Heater - Electric | [10 empty] | Makeup Air Unit
| MT |  |  | Hospital (General Medical & Surgical) | [6 empty] | Unit Heater - Gas | Unit Heater - Gas | [10 empty] | Decentralized Heat pumps and Split systems (Airsource)
| NC |  |  | Hotel | [6 empty] | No heating | No heating | [10 empty] | PTAC or PTHP (Packaged Terminal Units)
| ND |  |  | Ice/Curling Rink | [6 empty] | Other | Other
| NE |  |  | Indoor Arena
| NH |  |  | K-12 School
| NJ |  |  | Laboratory
| NM |  |  | Library
| NV |  |  | Lifestyle Center
| NY |  |  | Mailing Center/Post Office
| OH |  |  | Manufacturing/Industrial Plant
| OK |  |  | Medical Office
| OR |  |  | Mixed Use Property
| PA |  |  | Movie Theater
| RI |  |  | Multifamily Housing
| SC |  |  | Museum
| SD |  |  | Non-Refrigerated Warehouse
| TN |  |  | Office
| TX |  |  | Other
| UT |  |  | Other – Education
| VA |  |  | Other – Entertainment/Public Assembly
| VT |  |  | Other – Lodging/Residential
| WA |  |  | Other – Office
| WI |  |  | Other – Other
| WV |  |  | Other – Public Service
| WY |  |  | Other – Recreation
| GU |  |  | Other – Restaurant/Bar
| MH |  |  | Other – Retail/Mall
| MP |  |  | Other – Services
| PR |  |  | Other – Specialty Hospital
| VI |  |  | Other – Stadium
Other – Technology/Science
Other – Utility
Outpatient Rehabilitation/Physical Therapy
Parking
Performing Arts
Personal Services (Health/Beauty, Dry Cleaning, etc.)
Police Station
Pre-school/Daycare
Prison/Incarceration
Race Track
Refrigerated Warehouse
Repair Services (Vehicle, Shoe, Locksmith, etc.)
Residence Hall/Dormitory
Residential Care Facility
Restaurant
Retail Store
Roller Rink
Self-Storage Facility
Senior Care Community
Single Family Home
Social/Meeting Hall
Stadium (Closed)
Stadium (Open)
Strip Mall
Supermarket/Grocery Store
Swimming Pool
Transportation Terminal/Station
Urgent Care/Clinic/Other Outpatient
Veterinary Office
Vocational School
Wastewater Treatment Plant
Wholesale Club/Supercenter
Worship Facility
Zoo

## Dropdowns - HP (hidden) (hidden)
Pathways
*Fills automatically based on dropdown menu above*
LEED for Building Operations & Maintenance v.4 (Gold or Platinum) | 1) LEED certificate for Building Operations and Maintenance (O & M) issued by United States Green Building Council (USGBC). 2) LEED scorecard. 3) This completed form.
Net-Zero Energy Certification | 1) Net-Zero Energy Certification issued by International Living Future Institute (ILFI), with any summary documentation. 2) This completed form.
Utility retro-commissioning program | 1) Documentation, including final approval by PECO, that provides evidence of completed whole building retrocommissioning, as defined in Pennsylvania Act 129 of 2008 as amended or subsequently altered for additional phase. 2) This completed form.
Full retro- or recommissioning procedure | 1) Documentation by the provider who conducted the retrocommissioning or recommissioning demonstrating (a) that it covered at least seventy-five percent (75%) of the Covered Building’s square footage and (b)that it met the energy reduction requirements promulgated in Phase 3 of Act 129 (at least 300 kWh per square foot). 2). This completed form.
15% Energy Savings | 1) ENERGY STAR Statement of Performance (SEP) for three calendar years evidencing a site EUI reduced fifteen percent (15%) compared to the highest weather-normalized EUI in the three referenced calendar years prior to the Tune-up date. 2) A cover letter verifying the accuracy of the reporting and signed by any person possessing the qualifications of a Specialist. 3) This completed form. *For building owners pursuing the 15% energy savings pathway may request a non-guaranteed extension one year to submit the required documentation. No sooner than 180 days prior to the Compliance Deadline, the owner shall provide in writing and in a form acceptable to the OOS, evidence sufficient to the OOS that the building will meet the exemption requirement, and if the application fails the Covered Building shall conduct a Tune-up within one year of the date of its exemption denial.
15% Energy Savings (using C-PACE Financing) | 1) For C-PACE certification, the verification by the Philadelphia C-PACE Program Administrator regarding the annual energy savings projection approved as part of the building’s C-PACE financing, if C-PACE financing was used for the reduction. 2) This completed form
Low Site EUI | 1) A copy of the Statement of Energy Performance (SEP) for each of the qualifying years demonstrating a weather-normalized site EUI equal to or less than twenty (20) kBTU/sq for at least two of the three preceding calendar years to the Compliance Date. 2) Written validation of the SEP data by any person with Specialist qualifications. 3) This completed form.
ENERGY STAR Certification | 1) Either (a) a copy of the EPA-issued ENERGY STAR Certificate of Achievement or (b) the congratulatory email confirming certification. 2) Either (a) a copy of the application for Certification or (b) the Statement of Energy Performance (SEP) with the same year-ending date as the application. 3) This completed form. * For tune-ups scheduled in calendar years 2021 and 2022: A 2019 ENERGY STAR Certification will be accepted for buildings with a Compliance Deadline in 2021 and 2022 to be exempt from the tune-up requirement. To qualify for the 2019 ENERGY STAR exemption, owner(s) shall submit (1) either a copy of the EPA-issued ENERGY STAR Certificate of Achievement or (2) the congratulatory email confirming certification; and either (1) a copy of the application for Certification or (2) the Statement of Energy Performance (SEP) with the same year-ending date as the application. This provision shall expire on December 31, 2022.
Manual Ongoing Commissioning | 1) On-going commissioning plan (with all the elements required in LEED Operations and Maintenance v4 (or current edition) Ongoing Commissioning Energy and Atmosphere credit). 2) One year of quarterly (or more frequent) reports that detail findings from efforts and corrections made. 3) This completed form.
Automated Active Optimization (CCx) | 1) Description of the system(s) 2) One year of quarterly (or more frequent) reports generated by the automated system that include: (a).Faults/issues detected; (b) Date of each fault/issue was detected; (c) Date of correction/repair for each fault/issue, if corrected/repaired; (d)Staff/vendor notes on what was done to remedy each fault/issue (optional). 3) This complete form. NOTE: If base-building lighting systems are not covered by the automated system, Owner may submit alternative documentation to demonstrate manual ongoing commissioning. This documentation can either be an ongoing commissioning plan and reports as referenced in Section 7.d.vi.i or a written description of the protocols to ensure lighting systems and their use reflect the occupant and space needs. *For tune-ups scheduled in calendar years 2021 and 2022: For building owners pursuing the active optimization pathway may, upon application and no sooner than 180 days prior to the Compliance Deadline and approval by OOS, receive an extension of no more than two years from the Compliance Deadline to implement the Active Optimization and collect relevant data. Extension applications under this subsection include: Description of the type of program; Systems to be actively optimized; Timeline for launch and data qualification; and Verification by a person possessing Specialist qualifications.
Energy Audit | 1) An audit report and cover letter signed by the energy audit lead of an ASHRAE Level II Commercial Building Energy Audit (or equivalent). This letter must list all the no-cost/low-cost energy efficiency measures (defined as providing a simple payback of three years or less) identified in the audit and verify implementation of these measures. 2) This completed form.

## Data (hidden) (hidden)
To be developed